## Influent Measurements
Date	#/type	Ammonium [mg/L]	Ortho Phosphate [mg/L]	COD	BOD	T	Conductivity [µS/cm]	pH	Nitrate total [mg/L]	Nitrite	Turbidity [ntu]
13-9-2024	Start BE
23-9-2024	1	>6						7,21	25	3	61,8
	2	>6						7,24	25	3	89,5
	3	>6						7,25	25	3	93,9
	kit	54,3	11,9		2175
30-9-2024	1	148	35,8		9375		1774	8,74	263		135
	2	164	36,4				1809	8,73	252		165
	3	179	33,1				1815	8,73	319		157
7-10-2024	1	551	69,6		546		2,52	8,11	299		330
	2	552	68,4		1329		2,43	8,11	300		345
	3	553	67		dilution f. uit!			8,11	22,4		350
14-10-2024	1	22,9	54	690			2,07	8,82			281
	2	20,7	52,6				2,02	8,81			266
	3	21,9	54				2,02	8,8			262
21-10-24	1	niet meetbaar	69,3				2,19 mS	7,46
	2		131				2,17	7,47
	3		65,1				2,26	7,48

## Effluent Measurements
Date	#/type	Ammonium [mg/L]	Ortho Phosphate [mg/L]	COD	BOD	T	Conductivity [µS/cm]	pH	Nitrate total [mg/L]	Nitrite	Turbidity [ntu]
13-9-2024	Start BE
23-9-2024	1	2						8,05	>500	>80	0,14
	2	2						8,05	>500	>80	1,22
	3	2						8,06	>500	>80	0,56
	kit	0,579	2,44		0
30-9-2024	1	2	13,8		0		1030	7,16	108		0,14
	2	3	13,9				1045	7,18	93,2		0,2
	3	4	13,9				1045	7,2	91,9		0,15
7-10-2024	1	8,24	24,4		9		1785	7,37	162		0,04
	2	9,47	24,5		dilution f. uit!		1789	7,4	158		0,39
	3	9,9	24,5				1771	7,4	163		0,08
14-10-2024	1	20	19,2	62,2			1105	6,36			0,56
	2	20	19,2				1093	6,35			0,78
	3	20	19,2				1092	6,36			0,44
21-10-24	1	niet meetbaar	23				1612	7,93
	2		23,2				1708	7,94
	3		23,1				1630	7,92

## Sludge Measurements
Date	#/type	Ammonium [mg/L]	Ortho Phosphate [mg/L]	COD	BOD	T	Conductivity [µS/cm]	pH	Nitrate total [mg/L]	Nitrite	Turbidity [ntu]
13-9-2024	Start BE
23-9-2024	1	2						7,62	>500	>80	604
	2	2						7,62	>500	>80	609
	3	2						7,64	>500	>80	593
	kit	1,77	55,7		14700
30-9-2024	1	4	-		40050		1022	6,86	201		653
	2	4	-				1020	6,94	241		656
	3	4	-				1036	6,92	-		641
7-10-2024	1	11,3	89,8		1227		1745	7,2	242		650
	2	6,97	109		dilution f. uit!		1742	7,19	288		631
	3	9,8	120				1726	7,19	241		619
14-10-2024	1	20,5	142	1277(above range)			1036	6,98			270
	2	20,5					1015	6,94			255
	3	20,3					1006	6,92			278
21-10-24	1		onstabiele lichtomstandigheden				1491	7,38
	2						1493	7,37
	3						1462	7,38

## Benodigdheden
				Daphne’s gedachten
				PH – KCL
				PH kalibratie 80%

Small markers
Medium gloves

## Test kits
	Influent	Effluent	Sludge	Note				# repeats
Ammonium	LCK502	LCK305	LCK305					3
Orth phosphate	LCK049	LCK049	LCK049
COD	LCI400	LCI400	LCI400	+1 calibration for each time measuring
BOD	LCK555	LCK555	LCK555
T
Conductivity
pH
Total nitrogen	LCK338	LCK338	LCK338
Turbidity

	#samples for kit	#week	#repeats	#stock	#extra	#required	#order cuvettes
LCK502	1	17	3	49	0	51	2
LCK305	2	17	3	0	0	102	102
LCK049	3	17	3	47	0	153	106
LCI400	3	17	3	0	1	170	170
LCK555	3	17	3	>153	0	153	0	all past due date
LCK338	3	17	3	50	0	153	103